Solar Kit Lesson #12

Calibration Curve for a Radiation Meter

TEACHER INFORMATION

LEARNING OUTCOME

After using measurement, students are able to link the concept of “brightness” to a graphical mathematical representation or, for more advanced students, an algebraic mathematical representation. Students ready for algebra are able to determine the slope-intercept equation for this linear relationship.

LESSON OVERVIEW

In this lesson students determine the relationship between the short circuit output current of a solar panel and the level of radiation striking the panel. They also:

- measure a solar panel output current as a function of the level of radiation striking the panel

- realize that there is a linear relationship present

- use a solar panel to process energy and information into a more useful form

- plot solar panel output current versus radiation to obtain a calibration curve for their panel

- may use this curve and the solar panel as a radiation meter in other SPN Solar Kit lessons

GRADE-LEVEL APPROPRIATENESS

This Level II physical science / technology education lesson is intended for use in grades 7–9.

MATERIALS

Per work group

- 60-watt bulb and lamp

- meterstick

- vertical stand for solar panel (this could be as simple as a cardboard box or block of wood with 90 degree corners)

- graph paper to plot curve

- 1 V, 400 mA mini–solar panel*

- digital multimeter

* Available in the provided Solar Education Kit, other materials are to be supplied by the teacher.

SAFETY

Warn students that the bulb will become hot enough to cause a burn if touched.

TEACHING THE LESSON

Students should work in groups of two or more. Carry out this lesson on a day of low humidity when students can access periods of unobscured sunlight preferably between 11:30 a.m. and 12:30 p.m. If objects such as clouds, buildings, snow, or haze can reflect diffuse radiation onto the solar panels, the outdoor readings may be high. You can avoid this by mounting the panels in a deep “well” or box with black interior sides before taking the outdoor reading. Of course, overcast days will produce low readings due to clouds blocking some of the incoming solar radiation.

Set out materials at the workstations.

Tell students that they will be learning how to use a solar panel as a light intensity meter. Demonstrate how to connect the multimeter to the solar panel leads and how to set the scale for reading milliamps. Position the panel near a light source such as an incandescent lamp or overhead projector, and show that the meter reading changes as the panel is held closer or farther from the light. Encourage students to practice by recording the meter reading as they hold the panel at different distances from the light.

Once students are comfortable with recording, relate how they will plot light intensity (radiation) versus short circuit output current of the solar panel. Explain that they will need to record the current at different known levels of light intensity and plot the results on the graph. For this activity, they will use the midday solar intensity (on a clear day), the light intensity at a set distance from a 60-watt incandescent light bulb, and darkness. They should use the values of light intensity given in table 1.

Have students follow the instructions on their handout. Once all teams have finished, discuss the sources of error in this procedure.

Extension activity for those students ready for algebra:

Have students determine the slope-intercept equation for the calibration curve.

Light intensity (W/m2) = slope x current (mA) + y-intercept

where 	slope = change in intensity / change in current

y-intercept = 0 W/m2

Once this equation is determined, students can calculate the light intensity for any given level of current. Keep the calibration equation with each solar panel for use with other SPN Kit activities.

ACCEPTABLE RESPONSES FOR DEVELOP YOUR UNDERSTANDING SECTION

The following values were measured using a mini–solar panel rated for 1V, 400 mA.

| Date: July 31 | mA | W/m2 * |
| --- | --- | --- |
| Midday, outdoor reading | 317 | 1029 |
| Reading 10 cm from a 60-watt bulb | 66 | 300 |
| Darkness | 0 | 0 |

* from table 1

Figure 1: Calibration Curve

## ADDITIONAL SUPPORT FOR TEACHERS

SOURCE FOR THIS ADAPTED ACTIVITY

This lesson is adapted from Renewable Energy Activities for Junior High / Middle School Science, prepared for the U.S. Department of Energy by the Solar Energy Project in cooperation with the New York State Education Department and SUNY Atmospheric Science Research Center, and also from Thames & Kosmos Fuel Cell Car & Experiment Kit Lab Manual, Thames & Kosmos, LLC, Newport, RI, 2001.

BACKGROUND INFORMATION

A solar cell’s short circuit current is proportional to the number of photons absorbed by the cell.

The Sun delivers an average of 1,353 W/m2 to the edge of Earth’s atmosphere. This is known as the solar constant. Since the atmosphere reflects and absorbs some of this energy, the solar intensity at sea level is less—about 1,000 W/m2 in the summer. The solar intensity at Earth’s surface varies with the seasons. This variation is caused by the changing tilt of locations on Earth with respect to the Sun. Solar intensity at Earth’s surface also varies with atmospheric conditions such as cloud cover and humidity.

REFERENCES FOR BACKGROUND INFORMATION

Exploring Solar Energy II: Activities in Solar Electricity. Allan Kaufman. Prakken Publications. 1995.

LINKS TO MST LEARNING STANDARDS AND CORE CURRICULA

Standard 1—Analysis, Inquiry, and Design:  Students will use mathematical analysis, scientific inquiry, and engineering design, as appropriate, to pose questions, seek answers, and develop solutions.

Mathematical Analysis Key Idea 1:  Abstraction and symbolic representation are used to communicate mathematically.

Standard 3—Mathematics:	 Students will understand mathematics and become mathematically confident by communicating and reasoning mathematically, by applying mathematics in real-world settings, and by solving problems through the integrated study of number systems, geometry, algebra, data analysis, probability, and trigonometry.

Key Idea 5:  Students use measurement in both metric and English measure to provide a major link between the abstractions of mathematics and the real world in order to describe and compare objects and data.

Key Idea 6:  Students use ideas of uncertainty to illustrate that mathematics involves more than exactness when dealing with everyday situations.

Standard 4—Science:  Students will understand and apply scientific concepts, principles, and theories pertaining to the physical setting and living environment and recognize the historical development of ideas in science.

## Physical Setting

Key Idea 4:  Energy exists in many forms, and when these forms change

energy is conserved.

# Standard 5—Technology Education:  Students will apply technological knowledge and skills to design, construct, use, and evaluate products and systems to satisfy human and environmental needs.

Key Idea 2:  Technological tools, materials, and other resources should be selected on the basis of safety, cost, availability, appropriateness, and environmental impact; technological processes change energy, information, and material resources into more useful forms.

Produced by the Northeast Sustainable Energy Association in coordination with the Research Foundation of the State University of New York with funding from the New York State Energy Research and Development Authority (NYSERDA)

www.nyserda.org

Should you have questions about this activity or suggestions for improvement,

please contact Chris Mason at cmason@nesea.org.

(STUDENT HANDOUT SECTION FOLLOWS)

Name ___________________________________

Date ____________________________________

### Calibration Curve for a Radiation Meter

What does someone mean when they say “it is a bright day outside” or “that is a bright light”? How bright is “bright”? In this activity you devise a way to use a solar panel to measure how bright something is. To do so, you develop a calibration curve that will enable you to use a solar panel as a light intensity meter.

To do this, you plot on graph paper light intensity (W/m2) versus a solar panel’s short circuit output current (mA) for three levels of known light intensity. This works because a solar cell’s short circuit current is proportional to the amount of light (number of photons) absorbed by the cell. Complete the following steps, using the values of light intensity given in table 1.

| Table 1 |  |
| --- | --- |
|  | watts/meter2 |
| midday winter sun (Nov. 1 to Feb. 1) | 868 |
| midday fall or spring sun | 952 |
| midday summer sun (May 15 to Aug. 15) | 1029 |
| 10 cm away from a 60 W incandescent bulb | 300 |
| darkness | 0 |

Follow your teacher’s instructions on how to measure the short circuit output current of the solar panel.

1) Step outside and aim your solar panel at the Sun. Adjust the angle of the panel until the short circuit current reading is at its maximum. Record this value in your Calibration Data Table.

2) In the classroom, mount your solar panel on the vertical mount provided so it is centered at the height of the light bulb filament.

3) Turn on the light bulb and place a meterstick so its 0 mark is at the light bulb’s filament.

4) Place the solar panel at the 10 cm mark and turn the panel to face the light bulb directly. Measure the short circuit output current and record this value in your Calibration Data Table. Turn off the light.

5) Cover your solar panel so no light can get to the cells. Measure the short circuit output current and record this value in your calibration table.

6) Plot these three points on the graph paper provided.

7) Use a straightedge to connect, as closely as possible, all three points. The point 0 mA, 0 W/m2 should lie on the line; the other two points should lie as close as possible. Extend the line to the edge of the graph.

8) Consider some of the inherent sources of error in using this method to measure light intensity. Write down your ideas on a separate sheet of paper. Consider:

- How might a nearby object such a snow-covered tree or a light-colored building affect your outdoor reading?

- How might atmospheric conditions such as a hazy sky or scattered clouds affect your outdoor reading? How about an overcast sky?

- Do all bright, clear summer, winter, spring, or fall days have the same level of light intensity as is shown in table 1?

- Do all 60-watt light bulbs give off the exact same amount of light?

- How would a slight change in the angle of the solar panel affect your results?

Calibration Data Table

| Date: | mA | W/m2 * |
| --- | --- | --- |
| Midday, outdoor reading |  |  |
| Reading 10 cm from a 60-watt bulb |  |  |
| Darkness |  |  |

* Fill in appropriate values from table 1.

To use the solar panel and calibration curve to find the intensity of a light source:

1) Measure the short circuit current.

2) Find that value on the horizontal axis.

3) Trace upward parallel to the vertical axis until you intersect the line.

4) Go left parallel to the horizontal axis until you reach the vertical axis.

The value at that point is the intensity of the light source.