## CRBasic 1288
CRBasic
IRR-P 1288 Custom Coefficients
Calibration Date: |  | 2007-03-09
| C2 | C1 | C0
m(SB) | 82689.2 | 8579210 | 1575210000
b(SB) | 6541.19 | 30847.8 | -1480950
Use these coefficients under "Declare Constants" section
in the example Campbell Scientific datalogger program

## EdLog 1288
EdLog
IRR-P 1288 Custom Coefficients
Calibration Date: |  | 2007-03-09
| C2 | C1 | C0
m(SB) | 0.8269 | 85.793 | 15752.2575
b(SB) | 0.065413 | 0.30848 | -14.8096
Use these coefficients in instructions 11&13 in the
example Campbell Scientific datalogger program